Autoclave Procedures: Competency Assessment Form

Observer:___________________________Employee:_________________________Date:_________________________

Circle one:  New Orientation     Annual Review     Other:

Key:  1= needs improvement    2=competent to perform

Method of evaluation: DIRECT OBSERVATION

| PREPARING FOR A RUN | 1 | 2 | Comments |
| --- | --- | --- | --- |
| Complies with PPE rules |  |  |  |
| Transports the waste correctly |  |  |  |
| Installs autoclave graph paper |  |  |  |
| LOADING THE AUTOCLAVE | 1 | 2 | Comments |
| Seal bags loosely with autoclave tape |  |  |  |
| Place in approved autoclave pan |  |  |  |
| Doesn't overload chamber |  |  |  |
| Complies with safety protocols |  |  |  |
| STARTING A CYCLE | 1 | 2 | Comments |
| Closes the door |  |  |  |
| Enters the correct code |  |  |  |
| Chooses the correct cycle |  |  |  |
| Enters the run in the log book |  |  |  |
| Ensures the cycle is starting |  |  |  |
| POST STERILIZATION | 1 | 2 | Comments |
| Opens the door |  |  |  |
| Signs and dates the printout |  |  |  |
| Ensures proper exposure time of 30 minutes at 250 degrees F reached |  |  |  |
| Enters the run end time in the log book |  |  |  |
| Files the printout in the notebook |  |  |  |
| Disposes of bags properly |  |  |  |

Was training satisfactory? _______________________________________________________________

(Employee signs and dates if yes)

Problems? ____________________________________________________________________________

Trainer’s signature (or designee):_________________________________________________________