PHOSGENE

STANDARD OPERATING PROCEDURE TEMPLATE

Type of SOP:  	 Process	 Hazardous Chemical		 Hazard Class

To customize this SOP, add lab-specific information to the sections below marked in RED, as applicable.  Completion of the last section (“Lab-Specific Information”) is required.  Also, any of the content below may be amended with lab-specific information to enhance worker safety as desired.

# HAZARD OVERVIEW

Highly toxic gas!  Extreme danger!

Phosgene is a highly toxic, irritating and corrosive gas to all body tissues.  Inhalation can cause fatal respiratory damage.

- Exposure by inhalation to 20-30 ppm for as little as 1 minute may cause severe irritation of the upper and lower respiratory tract, with symptoms including burning throat, nausea, vomiting, chest pain, coughing, shortness of breath, and headache.

- Brief exposure by inhalation to 50 ppm can be fatal within a few hours.

The vapor is irritating to the eyes and skin at 4 ppm.  As a condensed liquid it can cause severe skin burns and serious eye damage.

LEGAL EXPOSURE LIMITS  Cal-OSHA has established maximum inhalation exposure limits for workers in occupational settings for over 500 chemicals.  These are known as Permissible Exposure Limits and cannot legally be exceeded.   For phosgene the PEL is very low:

0.01 ppm -   8 hour time weighted average exposure

Therefore, work with phosgene should always be done in a fume hood, glove box, or in totally-sealed containers to keep inhalation exposures as low as possible.   Contact EH&S if you believe you are being exposed.   In some instances EH&S can do quantitative exposure monitoring.

Alternatives to phosgene should be considered.  Common alternatives include diphosgene (trichloromethyl chloroformate) and triphosgene (bis(trichloromethyl) carbonate).  These two reagents have similar hazard and toxicity profiles as phosgene, but also have a reduced exposure risk due to their being a liquid and a solid, respectively.

# PERSONAL PROTECTIVE EQUIPMENT (PPE)

See the PPE information under Sec. II of the UCSB Chemical Hygiene Plan regarding:

- the UC PPE Policy and policy summary (what PPE is needed and when/where to use)

- obtaining your PPE via use of the Laboratory Hazard Assessment Tool

- glove selection criteria

- respirator use, etc.

At minimum, complete protection of the eyes and skin is essential. Viton gloves are recommended.

# ENGINEERING/VENTILATION CONTROLS

For further information see the following pages in Sec. II of the UCSB Chemical Hygiene Plan:

- Fume Hood Usage Guide

- Criteria for Implementing Engineering Controls

# SPECIAL HANDLING PROCEDURES AND STORAGE REQUIREMENTS

Handling

- Avoid ALL contact with  skin and eyes. Absolutely avoid breathing in vapors.

- Confirm that fume hood and other engineering controls are operating properly before beginning any work with phosgene.

- Confirm that gloves, safety goggles and other personal protective equipment are in good condition and not compromised in any way.

Storage

- Keep quantities to a minimum.

- Keep containers tightly closed and in a toxic gas cabinet or other well-ventilated area.

- Phosgene reacts vigorously with water/moisture, amines, ammonia and alcohols.  Keep segregated.

# SPILL AND INCIDENT PROCEDURES

See directions under the “Chemical Incident” tab of the UCSB Emergency Information Flipchart – should already be posted in all labs.

In case of phosgene gas leak:

Evacuate the area immediately.  Call 911 from a campus phone.  Ensure no one enters the affected area while waiting for emergency responders to arrive

# DECONTAMINATION

Using proper personal protective equipment as outlined above, decontaminate equipment and bench tops using soap and water and properly dispose of all chemical and contaminated disposables as hazardous waste following the guidelines below.

# WASTE DISPOSAL

See “Chemical Waste Disposal” in Sec. II of the UCSB Chemical Hygiene Plan.

# PRIOR APPROVAL/REVIEW REQUIRED

As they deem necessary, the PI/supervisor should insert here any prior approval or review needed before an individual can do the operation.

# DESIGNATED AREA

As they deem necessary, the PI/supervisor should insert here any information about whether a special use-area is designated for this material/process.

# SAFETY DATA SHEETS

Found online at: http://ehs.ucsb.edu/labsafety/msds

LAB-SPECIFIC INFORMATION (required)  (Examples of appropriate content)

# Add appropriate lab-specific information here describing how this material(s) is generally used.  E.g., name of protocol, typical frequency done, quantities used, temperature and any additional safety measures, etc.